## San Juan Planes
plant | record_date | record_time | record_time_24h | operator | flow_lps | turbidity_raw_ntu | turbidity_clarified_ntu | turbidity_filtered_ntu | coag_slider_pct | coag_dose_pct_mgl | coag_dose_probeta_mgl | source_image | extracted_at | model | needs_review | review_notes
San Juan Planes |  | 00:00 | 00:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 7:00 | 07:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 07:00 | 07:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 08:00 | 08:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 09:00 | 09:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 10:00 | 10:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 11:00 | 11:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 11:00 | 11:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 12:00 | 12:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 13:00 | 13:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 01:00 | 13:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 13:00 | 13:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 02:00 | 14:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 14:00 | 14:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 15:00 | 15:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 03:00 | 15:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 15:00 | 15:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 04:00 | 16:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 16:00 | 16:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 17:00 | 17:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 05:00 | 17:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 17:00 | 17:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 06:00 | 18:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 18:00 | 18:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 19:00 | 19:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 19:00 | 19:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 20:00 | 20:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 21:00 | 21:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 21:00 | 21:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 22:00 | 22:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 23:00 | 23:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)

## REVIEW_QUEUE
plant | record_date | record_time | record_time_24h | operator | flow_lps | turbidity_raw_ntu | turbidity_clarified_ntu | turbidity_filtered_ntu | coag_slider_pct | coag_dose_pct_mgl | coag_dose_probeta_mgl | source_image | extracted_at | model | needs_review | review_notes
San Juan Planes |  | 00:00 | 00:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 7:00 | 07:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 07:00 | 07:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 08:00 | 08:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 09:00 | 09:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 10:00 | 10:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 11:00 | 11:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 11:00 | 11:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 12:00 | 12:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 13:00 | 13:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 01:00 | 13:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 13:00 | 13:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 02:00 | 14:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 14:00 | 14:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 15:00 | 15:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 03:00 | 15:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 15:00 | 15:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 04:00 | 16:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 16:00 | 16:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 17:00 | 17:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 05:00 | 17:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 17:00 | 17:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 06:00 | 18:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 18:00 | 18:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 19:00 | 19:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 19:00 | 19:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 20:00 | 20:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 21:00 | 21:00 | Silvio | 10 | 1 | 0.6 | 0.01 | 10 | 1 | 0.01 | 20260107_143121.jpg | 2026-07-14T17:45:13 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 21:00 | 21:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 22:00 | 22:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)
San Juan Planes |  | 23:00 | 23:00 | Silvia | 12 | 41.06 | 1.79 | 0.68 | 2.89 | 3.64 | 0.56 | 20260107_143123.jpg | 2026-07-14T17:47:51 | openrouter:nvidia/nemotron-nano-12b-v2-vl:free | TRUE | record_date(unparsed)

## SCHEMA_MAP
plant | raw_column_spanish | canonical_field | unit | dtype
San Juan Planes | Fecha | record_date |  | date
San Juan Planes | Hora | record_time |  | str
San Juan Planes | Nombre | operator |  | str
San Juan Planes | Caudal (L/s) | flow_lps | L/s | float
San Juan Planes | Agua Cruda UTN | turbidity_raw_ntu | NTU | float
San Juan Planes | Clarificada UTN | turbidity_clarified_ntu | NTU | float
San Juan Planes | Filtrada UTN | turbidity_filtered_ntu | NTU | float
San Juan Planes | % del deslizador (Coagulante) | coag_slider_pct | % | float
San Juan Planes | Dosis segun % mg/L (Coagulante) | coag_dose_pct_mgl | mg/L | float
San Juan Planes | Dosis segun probeta mg/L (Coag) | coag_dose_probeta_mgl | mg/L | float